## Slide 1: USP 800 Overview
Annie Lambert, PharmD

## Slide 2: Overview
To protect patients, personnel, and the environment from hazardous drug contamination
Implementation date July 1, 2018

## Slide 3: Scope
Applies to all healthcare personnel
Applies to all healthcare settings
Includes all elements of HD handling:
  Receiving --PPE
  Storage --Training
  Preparation --HD List
  Administration --Disposal

## Slide 4: HD List
NIOSH 2016 List
More stringent requirements for antineoplastic HDs
Risk assessment is allowed
Reviewed every 12 months

## Slide 5: Personnel and Training
Designated person responsible for:
  Developing and implementing appropriate procedures
  Overseeing entity compliance
  Ensuring competency of personnel
  Ensuring environmental control of storage and compounding areas
Personnel training required every 12 months

## Slide 6: Engineering Controls
Regs for both sterile and non-sterile HD compounding
Requirements for various Primary Engineering Controls (PECs) and Secondary Engineering Controls (SECs) including:
  Pressure differential
  Air changes per hour (ACPH)
  Externally vented
Separate storage for antineoplastic HDs and refrigerated HDs

## Slide 7: USP 800 Shall vs Should
SHALL (MUST) | SHOULD
Store anti-neoplastic drugs requiring manipulation separately | Emergency power to maintain negative pressure/ventilation
Use CSTDs for administration, when dosage form allows | Use CSTDs for compounding when dosage form allows
Wear eye/face protection when risk of splash/spill outside hood | Chemo gloves for handling all HDs including non-chemo and reproductive risk
Not use pneumatic tubes for liquid HDs or anti-neoplastic HDs | Wipe sampling q6months
Personnel of reproductive capability must confirm in writing that they understand the risk of handling HDs. | Medical Surveillance program

## Slide 8: Enforcement
Enforcement of USP standards depends on local, state, and federal regulatory agencies and rules.
Accrediting bodies i.e. The Joint Commission
CMS Conditions of Participation
State Pharmacy Commission or other professions

## Slide 9: Next Up
Nursing Implications
  Seth Eisenberg, RN OCN BTMCN
USP 800 Self Assessment
  Erika Anderson, CPhT and Annie Lambert, PharmD